| GBIS 2.0 Data element |  |  | Value domain | Permissible values1 | Value meaning | Comment |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| sample_id |  |  | text[30] | - | - | Unique code within the biobank for the storage of the sample |  |
| parent_sample_id |  |  | text[30] | - | - | The parent sample identity if the sample is an aliquot |  |
| material_type |  |  |  |  |  | The biospecimen type saved from a biological entity for testing, diagnostic, propagation, treatment or research purposes. Corresponds to sample type in LIMS. |  |
|  |  |  | text[3] | BLD | Whole blood |  |  |
|  |  |  |  | BUF | Unficolled cryopreserved buffy coat, viable |  |  |
|  |  |  |  | BFF | Unficolled buffy coat, non-viable |  |  |
|  |  |  |  | CDN | ComplementaryDNA (cDNA) |  |  |
|  |  |  |  | CEL | PBMC cells, viable |  |  |
|  |  |  |  | CRD | Cord blood |  |  |
|  |  |  |  | DWB | Dried whole blood |  |  |
|  |  |  |  | PEL | PBMC cells, non-viable |  |  |
|  |  |  |  | PL* | Plasma, all |  |  |
|  |  |  |  | PL1 | Plasma, single-spun |  |  |
|  |  |  |  | PL2 | Plasma, double-spun |  |  |
|  |  |  |  | RBC | Red blood cells |  |  |
|  |  |  |  | SER | Serum |  |  |
|  |  |  |  | XDA | Extracted DNA |  |  |
|  |  |  |  | WDA | Whole Genome Amplified DNA |  |  |
|  |  |  | text[40] |  | Method used for extracting DNA |  |  |
|  |  |  |  | XPA | Extracted RNA |  |  |
|  |  |  | text[40] |  | Method used for extracting RNA |  |  |
|  |  |  |  | XTN | Extracted total nucleic acid |  |  |
|  |  |  |  | XPR | Extracted total proteins |  |  |
|  |  |  |  | ZZZ | Other |  |  |
| 1 Permissible values according to SPREC [4], with supplementary derivative codes from LDMS [5]. |  |  |  |  |  |  |  |
| sample_amount | decimal number |  |  | - | - | The amount of samples in store |  |
| sample_amount_unit | text[2] |  |  | mL | Milliliter |  |  |
|  |  |  |  | uL1 | Microliter |  |  |
|  |  |  |  | nL | Nanoliter |  |  |
| sample_storage_ organization | text[30] |  |  | - | - | The biobank id storing the sample |  |
| sample_storage_time | text[13] |  |  | - | - | The time point when the sample was stored after completed preanalytical handling |  |
| sample_storage_temp |  | text[4] |  |  |  | The temperature the sample is stored at after completed preanalytical handling |  |
| sampling _time |  | text[13] |  |  |  | The time point when the sample was taken |  |
| sample_prestorage_temp |  | text[4] |  |  |  | The temperature the sample is kept in before completed preanalytical handling |  |
| sprec_code |  | text[17] |  | Permissible values are listed in the SPREC definition [4]. |  |  |  |
| donor_id_type |  | text[3] |  | PNR | Personal identity number |  |  |
|  |  |  |  | CNR | Coordination number | To ensure the traceability of samples back to the individual. Can either use PNR, CNR or RNR |  |
|  |  |  |  | RNR | Reserve number |  |  |
| donor_id |  | text[30] |  | - | - | Which of the above id_types is used |  |
| consent_purpose |  | text[6] |  | vardbe1 | The sample may be used in healthcare and treatment |  |  |
|  |  |  |  | kvautv | The sample may be used in quality assurance, development and education within healthcare |  |  |
|  |  |  |  | foklpr | The sample may be used in research and clinical trials |  |  |
|  |  |  |  | spefor | The sample may be used in a specific research study |  |  |
| consent_decision |  | integer |  | 1 | Yes |  |  |
|  |  |  |  | 0 | No |  |  |
| consent_date |  |  | text[8] | - | - |  |  |
| sample_collection_id |  |  | text[30] | - | - | An identifier of the sample collection to which the sample belongs (by the Health and Social Care Inspector) |  |
| study_id |  |  | text[30] | - | - | If the stored sample is used for a specific research study |  |

1 The permissible values are based on the attribute descriptions for data reports to the Swedish Biobank Register [7].

| Additional information which would be desirable if available |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| quality_measurement_ type |  | text[20] | FREEZE_ THAW_ CYCLES |  |  | The number of freeze-thaw cycles the sample has undergone |  |  |  |  |
| quality_measurement_ result |  | integer | - |  |  | - |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | Not applicable |  |  |  |  |  |  |
| quality_measurement_ type | text[20] |  |  | DNA_CONC_UV |  | Measurement of the DNA concentration by the sample absorbance of ultraviolet radiation at 260 nm wavelengths. |  |  |  |  |
|  |  |  |  | DNA_CONC_ PG |  | Measurement of the DNA concentration using the PicoGreen assay. |  |  |  |  |
| quality_measurement_ result | decimal number |  |  | - |  | - |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | ug/ml1 |  | Micrograms per milliliter (corresponds to nanograms per microliter) |  |  |  |  |
| quality_measurement_ type | text[20] |  |  | DNA_PURITY_ UV |  | Measurement of DNA purity by the ratio of absorbance of ultraviolet radiation at 260 nm and 280 nm wavelength. |  |  |  |  |
| quality_measurement_ result | decimal number |  |  | - |  | - |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | Not applicable |  |  |  |  |  |  |
| quality_measurement_ type | text[20] |  |  | RNA_CONC_UV |  | Measurement of the RNA concentration by the sample absorbance of ultraviolet radiation at 260 nm wavelength. |  |  |  |  |
|  |  |  |  | RNA_CONC_RG |  | Measurement of the RNA concentration using the RiboGreen assay. |  |  |  |  |
| quality_measurement_ result | decimal number |  |  | - | - |  |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | ug/ml1 | Micrograms per milliliter (corresponds to nanograms per microliter) |  |  |  |  |  |
|  |  |  |  | ng/ml | Nanograms per milliliter (corresponds to picograms per microliter) |  |  |  |  |  |
| 1 Microliter is denoted with the Latin letter u, (uL), not with the formally correct Greek letter μ (μL). The reason is that the character representation of mu varies between character sets, which may cause problems when information is transferred from one information system to another. |  |  |  |  |  |  |  |  |  |  |
| quality_measurement_ type | text[20] |  |  | RIN | Measurement of RNA integrity. |  |  |  |  |  |
| quality_measurement_ result | decimal number |  |  | - | - |  |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | Not applicable |  |  |  |  |  |  |
| quality_measurement_ type | text[20] |  |  | WBC |  | Measurement of the total number of leukocytes (white blood cells) in the sample. |  |  |  |  |
| quality_measurement_ result | decimal number |  |  | - |  | - |  |  |  |  |
| quality_measurement_ unit | text[5] |  |  | 1/nL |  | The number of cells per nanoliter (corresponds to billions of cells per liter) |  |  |  |  |
| deviation_type | text[3] |  |  | BKV |  | Broken or cracked vial |  |  |  |  |
|  |  |  |  | CTM |  | Contaminated |  |  |  |  |
|  |  |  |  | HEM |  | Hemolyzed |  |  |  |  |
|  |  |  |  | ICT |  | Icteric (excess bilirubin) |  |  |  |  |
|  |  |  |  | INT |  | Incorrect tube |  |  |  |  |
|  |  |  |  | LIP |  | Lipemic |  |  |  |  |
|  |  |  |  | LKD |  | Leaked |  |  |  |  |
|  |  |  |  | LYS |  | Lysed |  |  |  |  |
|  |  |  |  | QNS |  | Quantity not sufficient |  |  |  |  |
|  |  |  |  | TEM |  | Temperature changed during storage. An explanatory comment should be given (0) |  |  |  |  |
|  |  |  |  | TWD |  | Thawed |  |  |  |  |
|  |  |  |  | OTH |  | Other. An explanatory comment should be given (0) |  |  |  |  |
| deviation_comment | text[50] |  |  | - |  | - |  |  |  |  |